ELECTRICAL SAFETY POLICY

| Date of Policy | March 2022 |
| --- | --- |
| Date approved by Management Committee | 31 March 2022 |
| Date for review | 31 March 2025 |
| Review date | March 2026 |
| Date for review | April 2029 |

1. Introduction

1.1 	Ruchazie Housing Association (RHA) has a duty of care to ensure the health and safety of its tenants, staff, contractors and other users or visitors to the building that it owns.

1.2 	As a landlord we have a duty to ensure that the electrical installation within its tenant

homes is regularly inspected, tested and where applicable issue remedial works where

Installation is not compliant with the current electrical regulations commonly known as

the “IET 18th Edition.”

2. Purpose

2.1 	The purpose of this Policy is to ensure the effective inspection, maintenance and

management of all electrical installations, fixtures and appliances within premises

owned/controlled by RHA.

2.2 	RHA will ensure that its properties’ electrical installations are tested and recorded

individually over a 5-year period and that the electrical installation is safe to minimise

risk of fire, injury or death.

2.3 	The policy ensure that RHA meets compliance with the outcomes of the Scottish

Housing Regulator specifically in relation to the ‘Healthy, Safe and Secure’ elements

of the Scottish Housing Quality Standard.

3.	 Objectives

3.1 	The key policy objectives contained in this policy will ensure that RHA will:

• 	Carry out Electrical Inspection Condition Reports (EICRs) for all fixed electrical

installations at suitable intervals as described herein and undertake the

necessary work to remediate any C1\C2 deficiencies found in a reasonably

practicable timescale.

• 	Develop and maintain a register listing all properties with electrical installations

that RHA are responsible for whether owned, leased or managed and date of the last EICR.

• 	Promptly repair or renew any defective part of an installation in accordance with

priority repair timescales.

• 	Ensure any unauthorised and defective alterations or additions to electrical

installations are rectified or removed on discovery.

• 	Only appoint electrical contractors registered with the NICEIC, ECA, NAPIT or

other accredited body and who are registered under a recognised Domestic

Installer Self-certification Scheme in compliance with The Scottish Building

Standards’ Standard 4.5 – electrical safety for all buildings and Standard 4.6 –

electrical fixtures for domestic buildings only.

• 	Ensure that detailed records are kept and administered.

• 	Ensure that contracts with external contractors are managed effectively and

robust contract monitoring is in place to monitor performance and promote

continuous improvement.

4. Legislation and Regulatory Framework

4.1 	The following legislation and regulatory guidance govern this policy:

• 	Health & Safety at Work Act 1974

- The Management of Health and Safety at Work Regulations 1999

• 	The Housing (Scotland Act) 1987, 2001 2006 and 2014

• 	The Building (Scotland) Regulations 2004 and subsequent amendments

• 	The Scottish Housing Quality Standards

• 	BS 7671:2018 Requirements for Electrical Installations (the “18th Edition of the Wiring Regulations”)

• 	The Scottish Social Housing Charter

• 	The Electricity at Work Regulations 1989

- Electrical Equipment (safety) regulations 1994

5. Contractors

5.1 	All electrical repair work and Electrical Installation Condition Reports will be subcontracted to an external competent person.

5.1.1 	Definitions

“Competent Person” – person suitably trained and qualified by knowledge

and practical experience, and provided with the necessary instructions, to

enable the required task (s) to be carried out correctly (see section 3.1).

5.2 	The procedures detailed within this section are intended to facilitate the effective

management of electrical safety, ensuring that all reasonable steps are taken to

comply with the Consumer Protection Act 1987 and the Electrical Equipment (Safety)

Regulations 1994.

6.0 Electrical Inspection Condition Report (EICRs)

6.1 	RHA will ensure that all electrical installations, fixtures, fittings, and any electrical

equipment provided, is safe, in a reasonable state of repair and in proper working

order at the start of the tenancy and throughout its duration.

6.2 	The Organisation will ensure that service contractors carrying out Electrical

Installation Condition Reports (EICR) are competent within the terms of the

Regulations and are members of recognised professional bodies.

6.3 	The EICR will be carried out every 5 years, at the start of a new tenancy and if there

have been new electrical installations fitted or defects identified.

6.4 	The Organisation will retain a copy of the Electrical Installation Condition Report for

six years. A copy of the most recent report will be issued to the tenant before a

tenancy starts. If an inspection is carried out during a tenancy, a copy relating to

that inspection will also be given to the tenant.

6.5 	RHA will ensure that all its properties will receive an inspection and test on the

following frequencies as a minimum.

Property Frequency

Domestic property Every 5 years

Void Property Prior to let

Mutual Exchange Prior to signing of agreement

Succession of Tenancy Prior to signing of agreement

Assignation of Tenancy Prior to signing of agreement

Landlords communal supply Every 5 years

6.6	 EICR’s may also be undertaken at any time at the discretion of the Property Services Officer for instances where a specific property may be considered

electrically unsafe such as after a minor fire or recurring defects.

7. Record Keeping

7.1 	All EICR shall be held in electronic format.

7.2 	Observations noted during the testing and inspection process shall be addressed in

the following manner in accordance with the severity of the situation.

• 	Danger Present (C1) – the safety of those using the installation is at risk and

immediate remedial action is required. These will be rectified during the test

or the installation will be isolated.

• 	Potentially Dangerous (C2) – those using the installation may not be at

immediate risk, but urgent remedial action is required to remove potential

danger. An attempt to remediate these defects will be made during the test,

however, should further investigation or disruption be required an

appointment will be made to return at a date no later than 3 months.

• 	Improvement recommended (C3) – non-compliance with the current safety

standard which presents no immediate or potential danger but may result in

significant safety improvements if remedied. These defects will be recorded

on the certificate and will be brought up to current day standards during future

improvement or replacement works.

8. Quality Assurance

8.1 	Approximately 10% of all EICR will be audited for compliance and shall generally be

sampled on the following criteria;

• 	Different contract phases and house types

• 	Spread over the duration of the programme of EICRs.

• 	Where costly or recurring remedial works are identified

• 	Complaints from tenants regarding the testing process

9. Portable Appliances

9.1 	RHA will take reasonable steps to ensure that all appliances (e.g. cookers, heater

etc.) provided as part of the tenancy agreement are safe.

9.2 	An appropriate portable appliance testing (PAT) regime will be implemented for any

appliances issued by the organisation.

9.3 	All portable appliances issued by the organisation will have the CE Mark, the British

Standard Kitemark or the ‘BEAB Approved’ mark.

10. Tenant Responsibilities

10.1 	Tenants have a responsibility to use electrical installations and fittings within properties responsibly to protect the health and safety of themselves and others.

10.2	 Tenant are required to obtain permission from RHA to undertake any electrical works or alterations within their homes. Permission shall not be withheld unreasonably however it would be a condition of approval that the works were undertaken by a competent person.

10.3 	Tenants will be issued with information leaflets on electrical safety.

10.4 	Tenants will be advised to report any electrical faults immediately.

10.5 	Tenants will be informed of any electrical items which are prohibited within RHA

properties/premises.

11. Monitoring Review

11.1 	Key Performance indicators on compliance will be reported to the board quarterly.

11.2 	The table below set out the key performance indicators for meeting the Scottish

Governments timescale for every domestic and non-domestic property to have a

valid EICR before the 31st March 2022.

Measure Target %

- All domestic properties with satisfactory EICR certificate

100% by 31/03/2022

- No. of block and other non-domestic properties with satisfactory EICR certificate

100% by 31/03/2022

12. Equality and Diversity

12.1 	RHA is committed to providing fair and equal treatment to all our customers and to

comply with the Equality Act 2010. The Act established 9 protected characteristics

(the grounds on which discrimination is unlawful). These cover age, race, sex,

religion/belief, sexual orientation, pregnancy/maternity, gender reassignment,

disability and marriage/civil partnership.

12.2	 An initial Equality Impact Assessment has been carried out and the result of this

initial appraisal is that a full Equalities Impact Assessment is not required as,

provided the proposed measures are in place as set out in the policy, there is unlikely to be a negative impact on any particular groups of ‘At Risk’ people.

13. Review

13.1 	This policy will be reviewed every 3 years or sooner if required. Consideration will be

given to any changes in legislation, good practice or operational changes, which may

affect the content of this policy.